## Slide 1: RFSoC Design Simplified
V1_1
V1_0 Simple DDS
V1_1 Branch Controller, Photon Counter, Edge Counter Added

## Slide 2
Zynq
rf_driver
rto_core_axi(rto_core)
counter_matched
[158:0]rto_out
timestamp_error
overflow_error
[127:0]rd_data
full
empty
auto_start
[127:0]wr_data
reset
write
counter
[63:0]counter
cs
read
[4:0]addr
clk
[15:0]dest
[127:0]timestamp_error_data
[127:0]overflow_error_data
rto_core_emio(rto_core)
FSM
rto_core_branch(rto_core)
FSM
gpo_core
[95:0]gpo_out
busy
selected
[127:0]error_data
overrided
busy_error
counter_matched
[158:0]gpo_in
selected_input
RF_DataConverter
DAC_out
AXI
frequency
IQ_in
ADC_in
IQ_out
RFDC
controller
AXI interconnect
DRAM
DMA Controller
FPD0
EMIO[94:0]
AXI
EMIO
[63:0]data
[63:0]timestamp
[63:0]data
[15:0]dest
[14:0]config
For deterministic instruction
For fast conditional instruction
RPU0
Deterministic
DMA Controll
RPU1
Branch Interrupt
BRANCH
210ns + 350ns
(For Soft Timing)
90ns / 280ns
(Exclusive Access for Conditional Inst)
130ns + 250ns
(For Hard Timing)
LPD0
BTCM
EMIO Arbiter
1~100us
for APU<->RPU IPC case
Branch Controller
<30ns(target latency)
1
2
3
Possible to Interleaved access!
APU0
TCP
Interrupt address, code
Branch Result
(for time shift)
Refresh < 100 cycles
Let’s look data sheet for more details…
Interrupt Port
NOP Controller

## Slide 3
RFDC
RTO Core
instruction FIFO
Zynq
APU0
RPU1
RPU0
AXI Interconnect
Time Controller
PC
RTO Core
instruction FIFO
AXI2FIFO
RTO Core
Data FIFO
AXI2FIFO
AXI2FIFO
AXI2FIFO
Global Phase
GPO core
RFDC controller
Local Phase
GPO core
RFDC controller
Local Phase
GPI core
RFDC controller
GPI core
RFDC controller
Branch Controller
BRAM
AXI2FIFO
DAC
DAC
ADC
ADC
GateLUT
BRAM
PulseLUT
BRAM
GateLUT
BRAM
PulseLUT
BRAM
Photon Counter
RTO Core0
instruction FIFO
RTI Core2
Data FIFO
AXI2FIFO
Edge Counter
RTO Core0
instruction FIFO
RTI Core2
Data FIFO
AXI2FIFO
NOP Controller
RTI Core
Data FIFO
AXI2FIFO
GPI core
TTL_controller
TTL_pad
RTO Core
Data FIFO
RTI Core
Data FIFO
RTI Core
Data FIFO
FPD0
EMIO

## Slide 4: Branch Controller

## Slide 5
BRAM
[9:0]condX_start_addr
[9:0]condX_end_addr
Address Counter
AXI2FIFO
condX_in
[127:0]instruction
MUX
selected

## Slide 6: Photon Counter

## Slide 7
RTO Core0
instruction FIFO
RTI Core2
Data FIFO
AXI2FIFO
Digital Preamplifier
+
BPF
+
PulseShpaer
[255:0]data_in
selected
[14:0]amp_threshold_X
edge_only
[4:0]process_data_num
[63:0]photo_count_X
[1023:0]data
hysteresis
[63:0]photo_threshold_Y
branch_cond_Y
trigger
ext_trigger
Comparator
[14:0]low_hys_X
[14:0]high_hys_X
duration

## Slide 8
0
0
1
0
0
0
0
0
0
0
0
1
0
0
0
0
0
0
0
1
0
0
0
0
0
0
0
1
0
[14:0]amp_threshold
[63:0]photo_count
edge_only=1
time
amplitude
See Overview of Photon Counting Techniques for more details
[14:0]low_hys_X
[14:0]high_hys_X
0
comparator

## Slide 9
0
0
1
1
1
1
0
0
0
0
0
1
0
0
0
0
0
0
0
1
1
1
0
0
0
0
0
1
0
[14:0]amp_threshold
[63:0]photo_count
edge_only=0
time
amplitude
See Overview of Photon Counting Techniques for more details
[14:0]low_hys_X
[14:0]high_hys_X
0
comparator

## Slide 10: Edge Counter

## Slide 11
RTO Core0
instruction FIFO
RTI Core2
Data FIFO
AXI2FIFO
data_in
selected
edge_only
[63:0]edge_count
duration
[63:0]photo_threshold_Y
[7:0]branch_cond
trigger
ext_trigger
Comparator

## Slide 12
RTO Core0
instruction FIFO
AXI2FIFO
GPO core
RFDC controller
Local Phase
GateLUT
Pulse List
RFDC
Gate Mode
DDS Mode
Global Phase
48bit frequency(Phase)
6.4GS/s
16x6bit
PulseLUT
32x128bit
256x128bit
See paper for spline engine…

## Slide 14
Distributor
s_axi_awaddr
s_axi_arvalid
s_axi_awaddr[17:0]
s_axi_awvalid
s_axi_bready
s_axi_rready
s_axi_wdata[127:0]
s_axi_wstrb[15:0]
s_axi_wvalid
s_axi_arready
s_axi_awready
s_axi_bresp[1:0]
s_axi_bvalid
s_axi_rdata[127:0]
s_axi_rresp[1:0]
s_axi_rvalid
s_axi_wready
s_axi_awlen[7:0]
Write
Read
[17:0]data
0x000
write_fifo
0x004
flush_fifo
rto_core
0x000
read_fifo
0x004
flush_fifo
rti_core
AXI FSM
s_axi_aresetn
s_axi_aclk
s_axi_awsize[2:0]

## Slide 16
Instruction Decode
[31:0]wr_data
[15:0]control
[15:0]dest
[3:0]mux_select
update
[1:0]fifo_mux_select
[7:0]data_strobe
use_fifo

## Slide 17
gpo_core(rfdc_control)
[63:0]gpo_out
busy
selected
[127:0]error_data
overrided
busy_error
counter_matched
[127:0]gpo_in
[63:0]override_value_input
override_en_input
selected_input
AXI_interconnect
axi_s0_interface
axi_m0_interface
RFDC(only one DAC)
axi_s0_interface
vout00_p
sysref_in_p
sysref_in_p
user_sysref_adc
user_sysref_dac
dac0_clk_p
dac0_clk_n
s0_axis_aclk
s0_axis_arestn
vout00_n
s00_axis_tready
clk_dac0
s00_axis_tdata[255:0]
s00_axis_tvalid
dac00_fast_shutdown
dac00_pl_event
dac00_nco_freq[47:0]
dac00_nco_phase[17:0]
dac00_nco_phase_rst
dac00_nco_update_en[5:0]
s00_axis_tready
dac00_datapath_overflow
dac0_nco_update_req
dac0_sysref_int_gaiting
dac0_sysref_int_reenable
dac0_nco_update_busy[1:0]
sysref_in_p
sysref_in_n
dac0_clk_p
dac0_clk_n
CLK100MHz
RFDC controller
s00_axis_tdata[255:0]
s00_axis_tvalid
dac00_fast_shutdown
dac00_pl_event
dac00_nco_freq[47:0]
dac00_nco_phase[17:0]
dac00_nco_phase_rst
dac00_nco_update_en[5:0]
dac0_nco_update_req
dac0_sysref_int_gaiting
dac0_sysref_int_reenable
processot_reset
aresetn

## Slide 18
gpo_core(gpo_dac_00)
[63:0]gpo_out
busy
selected
[127:0]error_data
overrided
busy_error
counter_matched
[127:0]gpo_in
[63:0]override_value_input
override_en_input
selected_input
axi_m0_interface
s00_axis_tdata[255:0]
s00_axis_tvalid
dac00_fast_shutdown
dac00_pl_event
dac00_nco_freq[47:0]
dac00_nco_phase[17:0]
dac00_nco_phase_rst
dac00_nco_update_en[5:0]
dac0_nco_update_req
dac0_sysref_int_gaiting
dac0_sysref_int_reenable
s00_axis_tdata[255:0]
s00_axis_tvalid
dac00_fast_shutdown
dac00_pl_event
dac00_nco_freq[47:0]
dac00_nco_phase[17:0]
dac00_nco_phase_rst
dac00_nco_update_en[5:0]
dac0_nco_update_req
dac0_sysref_int_gaiting
dac0_sysref_int_reenable
DEMUX
[31:0]wr_data
[15:0]control
[15:0]dest
[3:0]mux_select
update
[1:0]fifo_mux_select
[7:0]data_strobe
use_fifo
[3:0]dac00_mux_select
[47:0]gpo_00_buffer
gpo0_selected_buffer
[7:0]data_strobe

## Slide 19
gpo_core(gpo_dac_00)
[63:0]gpo_out
busy
selected
[127:0]error_data
overrided
busy_error
counter_matched
[127:0]gpo_in
[63:0]override_value_input
override_en_input
selected_input
s00_axis_tdata[255:0]
dac00_nco_freq[47:0]
dac00_nco_phase[17:0]
DEMUX
[31:0]wr_data
[15:0]control
[15:0]dest
[3:0]dac00_mux_select
SYNC FIFO(fifo_dac_00)
[255:0]data_out
clk
read
write
empty
full
[255:0]data_in
flush
[31:0]gpo_00_buffer
[7:0]data_strobe
DEMUX
...
[31:0]data
[63:32]data
[223:192]data
[255:224]data
[31:0]data
[63:32]data
[1:0]fifo_mux_select
[7:0]data_strobe
[3:0]mux_select
update
use_fifo

## Slide 20
Solution3
Start()
#timestamp 0
Do Something()
Delay(1)
#timestamp 1
A = Measure()
Delay(1)
#timestamp 2
If( A == True )
Delay(2)
#timestamp 4
Do Something()
Else
Delay(5)
#timestamp 7
Do Something()
#back to timestamp 2
Do Something()
Delay(1)
#timestamp 3
Do Something()
Delay(2)
#timestamp 5
Do Something()
Delay(1)
#timestamp 6
Do Something()
End()
Interpreter(in PC)
From Python to C
#define RTO_ADDRESS 0xF0000000
...
int main(){
uint32 *rto = RTO_ADDRESS;
uint32 *rti = RTI_ADDRESS;
uint32 *measure_done = MEASURE_DONE;
uint64 timestamp = 0;
...
*rto = timestamp | DO_SOMETHING;
*rto_push = 1;
while( rto_push_done == 0 ){
*rto_push = 0;
}
timestamp += 1;
*rto = timestamp | MEASURE;
while( rto_push_done == 0 ){
*rto_push = 0;
}
while(1){
if( measure_done ){
A = *rti;
break;
}
}
if( A == 1 ){
timestamp += 2;
*rto = timestamp | DO_SOMETHING;
while( rto_push_done == 0 ){
*rto_push = 0;
}
}
else{
...
}
...
}
Compile(using LLVM in PC) and send to Zynq
Zynq
APU
RPU
address of memory mapped IO
variable
output data to FIFO through AXI
output signal to write FIFO through AXI
polling waiting for FIFO write done
polling waiting for FIFO read done
conditional statement implementation does not make problem
RTO
RTI

## Slide 21
OS should be made to solve timestamp problem
e.g.
@1 DEVICE1()
@5 DEVICE1()
@3 DEVICE2()
->DEVICE2 timestamp error
Task1
@1 DEVICE1()
@5 DEVICE1()
Task2
@3 DEVICE2()
or user should not write code like this!

## Slide 22
Solution4
Start()
#timestamp 0
Do Something()
Delay(1)
#timestamp 1
A = Measure()
Delay(1)
#timestamp 2
If( A == True )
Delay(2)
#timestamp 4
Do Something()
Else
Delay(5)
#timestamp 7
Do Something()
#back to timestamp 2
Do Something()
Delay(1)
#timestamp 3
Do Something()
Delay(2)
#timestamp 5
Do Something()
Delay(1)
#timestamp 6
Do Something()
End()
Start()
#timestamp 0
Do Something()
Delay(1)
#timestamp 1
A = Measure()
Delay(1)
#timestamp 2
If( A == True )
#timestamp 2
Do Something()
Delay(1)
#timestamp 3
Do Something()
Delay(1)
#timestamp 4
Do Something()
Delay(1)
#timestamp 5
Do Something()
Delay(1)
#timestamp 6
Do Something()
Else
#timestamp 2
Do Something()
Delay(1)
#timestamp 3
Do Something()
Delay(1)
#timestamp 5
Do Something()
Delay(1)
#timestamp 6
Do Something()
Delay(1)
#timestamp 7
Do Something()
End()
Interpreter(in PC)
From Python to C
AT FUTURE
#define RTO_ADDRESS 0xF0000000
...
int main(){
uint32 *rto = RTO_ADDRESS;
uint32 *rti = RTI_ADDRESS;
uint32 *measure_done = MEASURE_DONE;
uint64 timestamp = 0;
...
*rto = timestamp | DO_SOMETHING;
*rto_push = 1;
while( rto_push_done == 0 ){
*rto_push = 0;
}
timestamp += 1;
*rto = timestamp | MEASURE;
while( rto_push_done == 0 ){
*rto_push = 0;
}
while(1){
if( measure_done ){
A = *rti;
break;
}
}
if( A == 1 ){
timestamp += 2;
*rto = timestamp | DO_SOMETHING;
while( rto_push_done == 0 ){
*rto_push = 0;
}
}
else{
...
}
...
}

## Slide 23
License for ZCU111(Vivado Design Suite)